## Darlington_2019
CONUM | SCGRID | LAT | LONG | UTM_E | UTM_N | TOPO | ELEV | OWNER | OWNER_WELL_ID | LOCATION | USE | DEPTH_D | DEPTH_C | DIAM_1 | DIAM_2 | OH_CAS | SCREEN_T | SCREEN_B | DRILL_YR | DRILL_MO | YIELD | YIELD_YR | G_LOGS | D_LOGS | P_TEST | CHEM | WL | WL_YR | DRILLER | REMARKS
DAR-1 | 17I-v1 | 343033 | 795119 | 605083 | 3819012 | Society Hill | 165 | Town of Society Hill |  |  | UNU |  | 360 | 8 |  | 192 |  |  | 1935 |  | 70 | 1946 |  | 0 | 0 | C |  |  | Sydnor | Probably open-hole well.
DAR-2 | 17I-t1 | 343100 | 795042 | 606017 | 3819855 | Society Hill | 90 | Palmetto Chair Co. |  | Society Hill | IND |  | 37 | 1 | [6 empty] | 5 |  |  | 0 | 0 |  | 15 | 1946 |  | 3 wells.
DAR-5 | 17I-t4 | 343113 | 795005 | 606955 | 3820266 | Society Hill | 90 | Georgia-Carolina Brick & Tile |  | Society Hill | IND |  | 65 | 1 | [6 empty] | 8 |  |  | 0 | 0 |  | 60 | 1946
DAR-6 | 17I-t5 | 343104 | 795002 | 607035 | 3819990 | Society Hill | 90 | Georgia-Carolina Brick & Tile |  | Society Hill | IND |  | 65 | 2 | [6 empty] | 2 |  |  | 0 | 0 |  | Flow
DAR-7 | 17L-h1 | 341814 | 795214 | 603934 | 3796233 | Darlington East | 150 | City of Darlington | Old Well 1 |  | UNU |  | 317 | 6 |  |  |  |  | 1896 |  | 335 | 1946 |  | 0 | 0 | C | 28 | 1946
DAR-8 | 17L-h2 | 341816 | 795215 | 603907 | 3796295 | Darlington East | 147 | City of Darlington | Well 2 |  | UNU | 318 | 315 | 10 | 8 |  | 280 | 310 | 1921 |  | 250 |  |  | 1 | 0 | C | +10 | 1955 | Sydnor
DAR-9 | 17L-h4 | 341815 | 795213 | 603959 | 3796264 | Darlington East | 152 | City of Darlington | Well 3 |  | PS |  | 570 | 6 |  |  |  |  | 1921 |  | 225 |  |  | 0 | 0 | C | 50 | 1940 | Argo
DAR-10 | 17L-i1 | 341803 | 795156 | 604398 | 3795900 | Darlington East | 153 | Bonnoitt's Feed & Seed |  |  | IND |  | 200 | 8 |  |  |  |  | 1946 |  | 250 |  |  | 0 | 0
DAR-11 | 17L-i2 | 341803 | 795156 | 604398 | 3795900 | Darlington East | 153 | Bonnoitt's Feed & Seed |  |  | ABN |  | 300 | 6 |  |  |  |  | 1946 |  |  |  |  | 0 | 0 |  | 32 | 1946
DAR-12 | 17L-m4 | 341754 | 795202 | 604247 | 3795621 | Darlington East | 150 | Dixie Cup Corp. |  | Darlington |  |  | 311 | 6 |  |  |  |  | 1939 | 5 | 60 |  |  | 0 | 0 |  |  |  | Connolly
DAR-13 | 19K-f8 | 342300 | 800403 | 585729 | 3804859 | Hartsville North | 180 | Hartsville Oil Mill |  | Hartsville |  |  | 165 | 4 | [9 empty] | 0 | 0
DAR-15 | 19K-f6 | 342300 | 800403 | 585729 | 3804859 | Hartsville North | 180 | Hartsville Oil Mill |  | Hartsville | IND |  | 170 | 4 | [6 empty] | 40 |  |  | 0 | 0 |  | 40 | 1946
DAR-16 | 19K-f7 | 342305 | 800410 | 585549 | 3805011 | Hartsville North | 175 | Sonoco Products |  | Hartsville | IND |  | 180 | 4 | [9 empty] | 0 | 0 |  |  |  | Garland | Six wells. 160' - 180' deep. Flowing wells.
DAR-22 | 19K-o3 | 342252 | 800437 | 584863 | 3804605 | Hartsville North | 175 | City of Hartsville | Well 2 |  | UNU | 432 | 215 | 20 | 10 |  | 175 | 215 | 1941 | 9 | 810 | 1945 | G | 1 | 0 | C | 12 | 1946 | Layne-Atlantic
DAR-23 | 19K-o4 | 342253 | 800440 | 584786 | 3804635 | Hartsville North | 175 | City of Hartsville |  |  | PS |  | 185 | 12 | 8 | [8 empty] | 0 | 0 |  | +20 | 1946
DAR-24 | 19K-o5 | 342254 | 800436 | 584888 | 3804666 | Hartsville North | 175 | City of Hartsville | Well 1 |  | PS |  | 155 | 12 | 8 | [7 empty] | C | 0 | 0 |  |  |  | Layne-Atlantic
DAR-25 | 19K-o6 | 342254 | 800436 | 584888 | 3804666 | Hartsville North | 175 | City of Hartsville |  |  | PS |  | 384 | 4 | 2 | [8 empty] | 0 | 0 |  | 20 |  | Layne-Atlantic
DAR-26 | 19K-o8 | 342254 | 800436 | 584888 | 3804666 | Hartsville North | 175 | City of Hartsville |  |  | PS |  | 384 | 4 | 2 | [8 empty] | 0 | 0 |  | 20 |  | Layne-Atlantic
DAR-27 | 19K-o9 | 342254 | 800436 | 584888 | 3804666 | Hartsville North | 175 | City of Hartsville |  |  | PS |  | 384 | 4 | 2 | [8 empty] | 0 | 0 |  | 20 |  | Layne-Atlantic
DAR-28 | 19K-o10 | 342254 | 800436 | 584888 | 3804666 | Hartsville North | 175 | City of Hartsville |  |  | PS |  | 384 | 4 | 2 | [8 empty] | 0 | 0 |  | 20 |  | Layne-Atlantic
DAR-29 | 19K-o7 | 342255 | 800434 | 584939 | 3804698 | Hartsville North | 175 | City of Hartsville |  |  | OBS | 300 | 240 | 4 | 2 |  | 240 | 300 |  |  | 12 |  |  | 0 | 0 | C | +10 | 1946 | Layne-Atlantic
DAR-30 | 19M-y4 | 341010 | 800405 | 585895 | 3781141 | Lamar | 175 | Town of Lamar |  |  | PS |  | 285 | 6 | 4 |  |  |  | 1923 |  | 120 |  |  | 0 | 0 | C |  |  |  | Latitude/Longitude approximate.
DAR-32 | 17L-h5 | 341815 | 795215 | 603908 | 3796264 | Darlington East | 150 | Carolina Utilities |  | Darlington | PS |  | 320 | 6 |  |  |  |  | 1939 |  | 360 |  |  | 0 | 0 |  |  |  | Hughes | Latitude/Longitude approximate.
DAR-34 | 17L-m5 | 341750 | 795205 | 604172 | 3795497 | Darlington East |  | Darlington Bank & Trust Co. |  |  | IND |  | 84 | 3 | [6 empty] | 10 | 1953 |  | 0 | 0 |  | Flow |  |  | Latitude/Longitude approximate.
DAR-35 | 17I-v5 | 343021 | 795122 | 605010 | 3818642 | Society Hill | 190 | Town of Society Hill |  |  | DES |  | 387 | 8 |  |  | 127 | 378 | 1954 | 9 | 240 | 1954 |  | 0 | 0 |  | 120 | 1954 | Carolina Drilling
DAR-36 | 19K-o1 | 342220 | 800422 | 585255 | 3803622 | Hartsville South | 218 | City of Hartsville | Old 5th Street Well |  | DES |  | 460 | 20 | 10 |  | 225 | 365 | 1951 | 10 | 810 | 1951 |  | 1 | 0 |  | 31 | 1951 | Layne-Atlantic
DAR-37 | 20K-n3 | 342220 | 800805 | 579559 | 3803572 | Kellytown | 250 | H. K. Segars |  |  | DOM |  | 160 | 2 |  | 65 |  |  | 1935 |  | 55 | 1955 |  | 0 | 0 |  | +20 | 1955 | Johnson
DAR-38 | 20K-g1 | 342320 | 800830 | 578905 | 3805415 | Lake Robinson | 220 | H. K. Segars |  |  | DOM |  | 160 | 2 |  | 65 |  |  | 1945 |  | 27 | 1955 |  | 0 | 0 |  | +20 | 1955
DAR-39 | 20K-f1 | 342340 | 800950 | 576857 | 3806014 | Lake Robinson | 270 | Una Johnson |  | Pine Ridge | STK |  | 55 | 2 |  |  |  |  | 1954 |  |  |  |  | 0 | 0 |  |  |  | McKenzie
DAR-41 | 20K-n1 | 342250 | 800800 | 579679 | 3804497 | Lake Robinson | 180 | J. A. Rogers |  | Hartsville | DOM |  | 118 | 2 |  |  |  |  | 1937 |  | 10 | 1955 |  | 0 | 0 |  | Flow
DAR-42 | 20K-n2 | 342240 | 800800 | 579682 | 3804189 | Lake Robinson | 180 | James Johnson |  | Hartsville | DOM |  | 38 | 1 |  |  |  |  | 1952 |  |  |  |  | 0 | 0 |  | 18 | 1955 | Johnson
DAR-45 | 21J-v1 | 342505 | 801105 | 574921 | 3808616 | Lake Robinson | 305 | Ray Bruton |  |  | DOM |  | 55 | 2 | [9 empty] | 0 | 0 |  |  |  | Johnson
DAR-46 | 19K-h1 | 342330 | 800202 | 588810 | 3805812 | Hartsville North | 160 | D. J. Jones |  | Airport Service Station | DOM |  | 55 | 2 | [9 empty] | 0 | 0
DAR-48 | 18J-w1 | 342525 | 795715 | 596103 | 3809427 | Dovesville |  | L. G. O'Neal |  | Hartsville | DOM |  | 22 | 1 |  |  |  |  | 1944 |  |  |  |  | 0 | 0 |  |  |  | Moore | Location estimated.
DAR-49 | 18K-b1 | 342425 | 795625 | 597398 | 3807592 | Dovesville |  | E. L. Jordan |  | Dovesville | DOM |  | 200 | 2 |  |  |  |  | 1948 |  | 65 |  |  | 0 | 0 | C | +7 | 1955 | Spiers
DAR-50 | 18K-h1 | 342337 | 795723 | 595933 | 3806098 | Dovesville | 155 | Auburndale Farms |  | 7 miles east of Hartsville | DOM |  | 290 | 6 |  | 225 |  |  | 1954 |  |  |  |  | 0 | 0 |  |  |  | Woodham | Flowed 50 gpm (1955). Open-hole well.
DAR-51 | 20L-a3 | 341920 | 800525 | 583696 | 3798063 | Hartsville South |  | Lawrence Anthony |  | 4 miles south of Hartsville | DOM |  | 50 | 2 | [9 empty] | 0 | 0 |  |  |  | Woodham
DAR-52 | 20L-a4 | 341925 | 800515 | 583950 | 3798220 | Hartsville South |  | L. K. Anthony |  | 4 miles south of Hartsville on US 15 | DOM |  | 26 | 1 | [9 empty] | 0 | 0 |  | 6 | 1955
DAR-53 | 20L-j1 | 341800 | 800510 | 584101 | 3795603 | Hartsville South |  | Frank Kelly Shell Station |  | Intersection of SC 34 & SC 403 | DOM |  | 25 | 1 |  |  |  |  | 1954 |  |  |  |  | 0 | 0 |  | 8 | 1955 | Chance Pipkin
DAR-54 | 19L-w1 | 341545 | 800255 | 587591 | 3791476 | Hartsville South |  | Gus Randolph |  | Lamar | DOM |  | 40 | 1 | [9 empty] | 0 | 0 |  |  |  | Chance Pipkin
DAR-55 | 19L-y1 | 341503 | 800446 | 584764 | 3790156 | Hartsville South |  | J. F. Howell |  | Oats | DOM |  | 147 | 2 |  | 100 |  |  | 1953 |  | 2 | 1955 |  | 0 | 0 | C | +2 | 1955 | Spires
DAR-56 | 20L-j2 | 341815 | 800515 | 583969 | 3796064 | Hartsville South | 215 | C. D. Morrell |  |  | DOM |  | 30 | 1 |  |  |  |  | 1938 |  |  |  |  | 0 | 0 |  |  |  | John Pipkin
DAR-57 | 17I-v4 | 343021 | 795122 | 605010 | 3818642 | Society Hill | 190 | Town of Society Hill |  |  | PS |  | 157 | 6 |  |  | 149 | 157 | 1951 | 2 | 40 |  |  | 0 | 0 |  | 115 | 1951 | Heater Well Co.
DAR-58 | 17L-h3 | 341816 | 795216 | 603882 | 3796294 | Darlington East | 147 | City of Darlington |  |  | UNU |  | 450 | 18 | 8 |  | 279 | 430 | 1951 | 12 | 810 |  |  | 1 | 0 | C | 40 | 1953 | Layne-Atlantic
DAR-59 | 21K-i1 | 342315 | 801100 | 575076 | 3805229 | Lake Robinson |  | Granthams Clyde |  | Beaver Dam Mill Pond | IND |  | 140 | 2 |  |  |  |  | 1900 |  | 3 | 1957 |  | 0 | 0 |  | Flow | 1957 |  | Temp 65 F.
DAR-61 | 20K-e1 | 342406 | 800922 | 577565 | 3806820 | Lake Robinson | 225 | Carolina Power and Light | Well 1 |  | IND |  | 227 | 12 | 6 |  | 205 | 227 | 1958 | 9 | 275 |  | E | 1 | 0 |  | 3 | 1958 | Layne-Atlantic
DAR-62 | 20K-e2 | 342411 | 800922 | 577564 | 3806974 | Lake Robinson | 225 | Carolina Power and Light | Well 2 |  | IND |  | 220 | 12 |  |  | 209 | 220 | 1959 | 1 | 300 |  | E | 1 | 0 |  | 3 | 1959 | Layne-Atlantic
DAR-63 | 17L-l2 | 341730 | 795130 | 605074 | 3794891 | Darlington East |  | Darlington Manufacturing Co. |  |  | IND |  | 285 | 10 |  |  | 265 | 285 | 1946 |  | 150 |  |  | 0 | 0 | C
DAR-64 | 19M-x1 | 341020 | 800355 | 586148 | 3781452 | Lamar |  | Town of Lamar | Church well |  | PS |  | 42 | 2 |  |  |  |  | 1956 |  |  |  |  | 0 | 0 | C |  |  |  | Location approximated.
DAR-65 | 19M-x2 | 341020 | 800325 | 586916 | 3781459 | Lamar |  | Town of Lamar | School well |  | PS |  | 42 | 2 |  |  |  |  | 1956 |  |  |  |  | 0 | 0 | C |  |  |  | Location approximated.
DAR-69 | 17L-i3 | 341835 | 795136 | 604898 | 3796891 | Darlington East | 105 | City of Darlington | Well 1 | Hampton Street | PS | 474 | 305 | 20 | 10 |  | 180 | 305 | 1961 | 3 | 1000 |  | E | 1 | 0 | C | 39 | 1992 | Layne-Atlantic
DAR-70 | 17L-l1 | 341752 | 795136 | 604913 | 3795567 | Darlington East | 146 | Dixie Cup Corp. | Well 1 | Darlington | IND |  | 290 | [5 empty] | 1962 | 5 | 300 | 1962 | E | 1 | 0 | P |  |  | Layne-Atlantic
DAR-71 | 20K-t1 | 342150 | 800536 | 583373 | 3802681 | Hartsville South | 226 | City of Hartsville | Cemetery well | Carolina Avenue | PS | 331 | 297 | 12 | 10 |  | 205 | 293 | 1962 | 12 | 800 | 1963 | E | 1 | 1 | C | 29 | 1963 | Hartsfield
DAR-72 | 17I-t6 | 343140 | 795020 | 606563 | 3821093 | Society Hill | 91 | Darlington County Development Board |  | Society Hill | TEST |  | 292 | 4 |  |  |  |  | 1965 | 1 | 40 |  | E | 1 | 0 |  |  |  | Layne-Atlantic
DAR-73 | 18L-u1 | 341555 | 795540 | 598713 | 3791895 | Darlington West |  | State Education Finishing Shop |  | 4 miles SW of Darlington, off Lamar Hwy | IND |  | 237 | 4 |  |  |  |  | 1964 |  | 70 |  |  | 1 | 0 |  | 13 | 1964 | Getzen | Location approximated.
DAR-74 | 17K-f1 | 342341 | 795405 | 600987 | 3806275 | Dovesville | 158 | Darlington County Development Board |  | Dovesville | TEST | 480 | 365 | [5 empty] | 1965 | 2 | 600 |  | E | 0 | 0 |  |  |  | Layne-Atlantic
DAR-75 | 17K-y1 | 342059 | 795413 | 600837 | 3801282 | Darlington West | 172 | Perfection Gear Co. |  | Darlington | IND | 476 | 280 |  |  |  |  | 280 | 1965 | 5 | 400 |  |  | 1 | 0 |  |  |  | Layne-Atlantic
DAR-76 | 20L-a2 | 341910 | 800536 | 583417 | 3797753 | Hartsville South | 215 | Roller Bearing Corp. |  |  | DES |  | 300 | [5 empty] | 1966 | 9 |  |  |  | 0 | 0 |  |  |  | Layne-Atlantic
DAR-77 | 19K-g1 | 342311 | 800358 | 585854 | 3805199 | Hartsville North | 160 | Sonoco Products | Well 3 | Hartsville | IND | 180 | 165 | 8 |  |  | 126 | 165 | 1957 | 10 | 470 |  |  | 1 | 0 | C | Flow | 1957 | Heater Well Co.
DAR-78 | 20L-a1 | 341910 | 800536 | 583417 | 3797753 | Hartsville South | 215 | Roller Bearing Corp. | Well 1 |  | IND | 309 | 293 | 16 | 8 |  | 253 | 288 | 1966 | 11 | 305 |  |  | 1 | 0 |  | 23 | 1966 | Layne-Atlantic
DAR-79 | 19K-n1 | 342223 | 800357 | 585893 | 3803721 | Hartsville South | 212 | Milliken Mill |  |  | IND | 163 | 155 | 8 |  |  | 72 | 150 | 1968 | 12 | 150 |  |  | 1 | 0 | C | 56 |  | Heater Well Co.
DAR-80 | 19K-f1 | 342301 | 800412 | 585499 | 3804888 | Hartsville North | 175 | Sonoco Products | New well 1 | Hartsville | IND | 240 | 239 | 10 |  |  | 204 | 236 | 1970 | 2 | 500 |  |  | 1 | 1 | C | Flow | 1970 | Heater Well Co.
DAR-81 | 17I-v2 | 343034 | 795119 | 605082 | 3819043 | Society Hill | 168 | Town of Society Hill |  |  | PS |  | 383 | 10 | 8 |  | 364 | 383 | 1971 | 5 | 250 | 1971 |  | 1 | 0 |  | 84 | 1989 | Layne-Atlantic
DAR-82 | 20K-s3 | 342115 | 800659 | 581262 | 3801584 | Hartsville South | 229 | City of Hartsville | Hanes well 4 |  | PS | 406 | 300 | 12 | 10 |  | 208 | 294 | 1971 | 3 | 1000 | 1971 | E | 1 | 1 | C | 38 | 1971 | Sydnor
DAR-84 | 17J-i2 | 342837 | 795132 | 604791 | 3815435 | Mont Clare | 192 | Rosenwald High School |  |  | DES | 450 | 249 | 6 |  |  |  |  | 1972 | 2 |  |  | G | 0 | 0 |  |  |  | Woodham
DAR-85 | 17J-i1 | 342838 | 795133 | 604766 | 3815466 | Mont Clare | 192 | Rosenwald High School |  |  | UNU |  | 219 | 6 |  |  |  |  | 1972 | 3 |  |  | G | 0 | 0 |  |  |  | Woodham
DAR-86 | 17L-m1 | 341754 | 795202 | 604247 | 3795621 | Darlington East | 152 | Dixie Cup Corp. | Well 2 | Darlington | IND | 375 | 365 | 12 |  |  | 282 | 360 | 1972 | 7 | 465 | 1972 | E, G | 1 | 0 | P | 75 | 1972 | Layne-Atlantic
DAR-87 | 19M-y1 | 341012 | 800406 | 585869 | 3781203 | Lamar | 170 | Town of Lamar | Well 2 |  | PS | 617 | 486 | 20 | 8 |  | 368 | 476 | 1972 | 1 | 626 |  | E, G | 1 | 1 | C | 12 | 1972 | Hartsfield
DAR-88 | 16L-q2 | 341604 | 794853 | 609119 | 3792288 | Darlington East | 137 | Fiber Industries | Test well 1 | Darlington | TEST | 615 | 595 | 4 |  |  | 532 | 595 | 1972 | 11 |  |  | E, G | 1 | 0 | C | 94 | 1973 | Layne-Atlantic
DAR-89 | 16L-q1 | 341620 | 794810 | 610212 | 3792793 | Darlington East | 133 | Fiber Industries | Well 1 | Darlington | IND | 663 | 631 | 14 | 12 |  | 530 | 624 | 1973 | 2 | 600 |  | E | 1 | 1 | C | 85 | 1973 | Layne-Atlantic
DAR-90 | 16L-q3 | 341607 | 794827 | 609782 | 3792388 | Darlington East | 133 | Fiber Industries | Obs. well 1 | Darlington | OBS | 640 | 615 | 2 |  |  | 419 | 615 | 1973 | 2 |  |  | E, G, C | 1 | 0 |  | 111 | 1973 | Layne-Atlantic
DAR-91 | 16L-q4 | 341608 | 794827 | 609782 | 3792419 | Darlington East | 133 | Fiber Industries | Obs. well 2 | Darlington | DES | 636 | 619 | 2 |  |  | 534 | 619 | 1973 | 3 |  |  | E | 1 | 0 |  | 120 |  | Layne-Atlantic
DAR-92 | 16L-q5 | 341611 | 794811 | 610190 | 3792516 | Darlington East | 131 | Fiber Industries | Well 2 | Darlington | IND | 634 | 630 | 12 |  |  | 235 | 620 | 1974 | 1 |  |  | E, G | 1 | 0 |  | 72 | 1974 | Layne-Atlantic
DAR-93 | 16L-b1 | 341916 | 794617 | 613037 | 3798249 | Darlington East | 130 | Long Marsh Farms |  |  | UNU |  | 381 | 6 |  |  |  | 381 | 1976 | 4 |  |  | G, C | 0 | 0 |  |  |  | Sydnor
DAR-94 | 19K-o2 | 342219 | 800424 | 585204 | 3803591 | Hartsville South | 216 | City of Hartsville | Well 5 | 5th Street | PS | 400 | 316 | 12 | 10 |  | 214 | 306 | 1976 | 9 | 1020 | 1976 | E, G | 1 | 1 | C | 35 | 1976 | Sydnor
DAR-95 | 17L-u1 | 341521 | 795028 | 606704 | 3790935 | Darlington East | 138 | Bethea Baptist Home | Well 1 |  | DOM |  | 331 | 6 | 4 |  |  |  | 1958 | 5 |  |  | E | 0 | 0 | C |  |  | Layne-Atlantic
DAR-96 | 17I-v3 | 343021 | 795122 | 605010 | 3818642 | Society Hill | 190 | Town of Society Hill | Well 3 |  | PS | 396 | 380 | 10 | 8 |  | 175 | 373 | 1975 | 11 | 250 |  | E, G | 1 | 1 | C |  |  | Sydnor | Samples at SCGS.
DAR-97 | 19K-g2 | 342317 | 800354 | 585954 | 3805385 | Hartsville North | 165 | Sonoco Products | Well 2 |  | IND | 203 | 203 | 10 |  |  | 131 | 198 | 1972 | 9 | 500 | 1972 |  | 1 | 0 | C | Flow | 1972 | Heater Well Co.
DAR-98 | 19M-y2 | 341010 | 800402 | 585972 | 3781142 | Lamar | 173 | Town of Lamar | Well 1 |  | PS | 386 | 220 | 10 |  |  | 190 | 220 | 1967 | 5 | 230 | 1995 |  | 1 | 0 |  | 15 | 1967 | Layne-Atlantic
DAR-99 | 20K-e3 | 342407 | 800933 | 577284 | 3806849 | Lake Robinson | 227 | Carolina Power and Light | Well 3 |  | IND | 220 | 220 | 8 | 6 |  | 180 | 220 | 1968 | 9 | 200 | 1968 |  | 1 | 0 |  | 4 | 1968 | Layne-Atlantic
DAR-100 | 20K-e4 | 342406 | 800935 | 577233 | 3806818 | Lake Robinson | 227 | Carolina Power and Light | Well 4 |  | IND | 241 | 226 | 8 | 6 |  | 186 | 221 | 1968 | 10 | 300 | 1968 |  | 1 | 0 |  | 4 | 1968 | Layne-Atlantic
DAR-101 | 20K-e5 | 342410 | 800935 | 577232 | 3806941 | Lake Robinson | 227 | Carolina Power and Light | Well 5 |  | IND | 221 | 213 | 8 | 6 |  | 178 | 208 | 1968 | 10 | 300 | 1968 |  | 1 | 0 |  |  |  | Layne-Atlantic
DAR-102 | 20K-b1 | 342441 | 800645 | 581565 | 3807933 | Hartsville North | 370 | Darlington Co. Water & Sewer | Well 2 |  | PS | 420 | 420 | 12 |  |  | 245 | 409 | 1976 | 2 | 800 | 1976 | E | 0 | 0 | C | 145 | 1976 | Virginia Well
DAR-103 | 20J-u1 | 342553 | 800545 | 583077 | 3810164 | Hartsville North | 418 | Darlington Co. Water & Sewer | Well 1 |  | PS | 565 | 492 | 10 |  |  | 272 | 479 | 1976 | 2 | 800 | 1976 | E | 0 | 0 | C | 203 | 1993 | Virginia Well
DAR-105 | 19K-g3 | 342309 | 800357 | 585880 | 3805137 | Hartsville North | 170 | Sonoco Products | Well 4 | Hartsville | IND | 186 | 163 | 10 | 8 |  | 133 | 163 | 1960 | 7 | 500 | 1960 |  | 1 | 1 |  | Flow | 1980 | Hartsfield
DAR-106 | 19K-f2 | 342306 | 800416 | 585395 | 3805041 | Hartsville North | 172 | Sonoco Products | Well 5 | Hartsville | IND |  | 185 | 8 |  |  | 138 | 181 | 1960 | 7 | 400 | 1960 |  | 1 | 0 | C | Flow | 1960 | Hartsfield
DAR-108 | 15L-o1 | 341718 | 794454 | 615203 | 3794640 | Witherspoon Island | 118 | Pee Dee Experiment Station |  |  | IRR |  | 96 | 6 |  |  | 92 | 95 | 1979 |  |  |  | C | 0 | 0 |  | 12 |  | Demco
DAR-109 | 17I-u1 | 343057 | 795047 | 605890 | 3819761 | Society Hill | 110 | Palmetto Manufacturing Co. |  |  | IND |  | 78 | 6 |  |  |  |  | 1941 |  |  |  |  | 0 | 0
DAR-110 | 17L-u2 | 341523 | 795030 | 606652 | 3790996 | Darlington East | 138 | Bethea Baptist Home | Well 2 |  | DOM | 351 | 272 | 6 | 4 |  | 256 | 272 | 1975 | 2 | 140 | 1975 | E | 1 | 0 | C | 65 | 1974 | Demco
DAR-111 | 16L-q6 | 341608 | 794827 | 609782 | 3792419 | Darlington East | 133 | Fiber Industries | Obs. well 3 | Darlington | DES | 635 | 618 | 2 |  |  | 527 | 618 | 1973 | 3 |  |  |  | 1 | 0 |  | 160 | 1973 | Layne-Atlantic
DAR-112 | 16L-x1 | 341554 | 794817 | 610043 | 3791990 | Darlington East | 133 | Fiber Industries | Well 3 | Darlington | IND | 645 | 633 | 12 |  |  | 314 | 620 | 1978 | 10 | 900 | 1978 | E | 1 | 1 | C | 154 | 1978 | Sydnor | Samples at SCGS.
DAR-113 | 17L-m2 | 341748 | 795223 | 603713 | 3795430 | Darlington East | 155 | City of Darlington |  | Edwards Avenue | PS | 450 | 430 |  |  |  | 265 | 430 | [5 empty] | 0 | 0 |  |  |  | Layne-Atlantic
DAR-114 | 20K-m1 | 342206 | 800706 | 581070 | 3803154 | Hartsville South | 170 | Sonoco Products | Lake View Club | Hartsville | PS |  | 147 | 6 |  |  |  |  | 1956 | 1 | 1180 |  |  | 0 | 0 | C | Flow | 1956 | Woodham
DAR-115 | 19K-f3 | 342301 | 800411 | 585524 | 3804888 | Hartsville North | 175 | Sonoco Products | Old Well 1 | Hartsville | UNU |  | 190 | 10 | 8 |  |  | 190 | 1952 |  | 275 |  |  | 0 | 0 |  |  |  | Connolly | Questionable data.
DAR-116 | 19K-f4 | 342301 | 800409 | 585575 | 3804888 | Hartsville North | 177 | Sonoco Products | Old Well 2 | Hartsville | UNU |  | 195 | 10 | 8 |  | 155 | 195 | 1952 | 5 | 275 | 1952 |  | 1 | 0 |  | Flow | 1952 | Connolly
DAR-118 | 15L-o3 | 341716 | 794448 | 615357 | 3794580 | Witherspoon Island | 126 | Pee Dee Experiment Station |  | Dargan Farm | IRR | 175 | 110 | 4 |  |  | 99 | 110 | 1977 | 5 | 60 | 1977 | E | 1 | 0 |  | 16 | 1992 | Demco
DAR-119 | 15L-o2 | 341717 | 794452 | 615254 | 3794610 | Witherspoon Island | 124 | Pee Dee Experiment Station |  | Dargan Farm | IRR | 125 | 116 | 4 |  |  |  |  | 1978 | 1 |  |  | C | 1 | 0 |  | 18 | 1979 | Demco
DAR-120 | 20J-v1 | 342515 | 800628 | 581989 | 3808984 | Hartsville North | 415 | Darlington Co. Water & Sewer | Well 3 |  | PS | 420 | 408 | 12 |  |  | 318 | 388 | 1980 | 10 | 800 | 1980 | G | 1 | 0 | C | 194 | 1980 | Virginia Well | Samples at SCGS.
DAR-122 | 20J-v2 | 342516 | 800628 | 581989 | 3809015 | Hartsville North | 415 | A. Foote |  |  |  |  | 180 | [10 empty] | 0 | 0
DAR-123 | 16K-t1 | 342154 | 794510 | 614689 | 3803137 | Darlington East | 142 | Dr. Joe Mathews Farm |  |  | IRR | 375 | 371 | 16 |  |  | 171 | 371 | 1980 | 9 | 2100 | 1980 | G | 1 | 0 |  | 91 | 1980 | Grosch
DAR-124 | 19K-n2 | 342223 | 800354 | 585969 | 3803721 | Hartsville South | 215 | Deering Milliken Mill |  | Hartsville | DES |  | 896 | [5 empty] | 1900 |  |  |  |  | 1 | 0 |  |  |  |  | Bedrock at 448 feet.
DAR-125 | 17K-p1 | 342130 | 795430 | 600392 | 3802233 | Darlington West |  | Nucor Steel |  | Darlington | PS | 402 | 298 | 8 |  |  | 268 | 298 | 1977 | 1 |  |  | E | 1 | 0 |  | 32 | 1977 |  | Location estimated.
DAR-126 | 17I-t7 | 343101 | 795042 | 606016 | 3819886 | Society Hill |  | Continental Oil Co. |  |  |  |  | 519 | [10 empty] | 0 | 0 |  |  |  |  | Samples at SCGS.
DAR-127 | 19K-o12 | 342254 | 800436 | 584888 | 3804666 | Hartsville North | 175 | City of Hartsville | Well 2 |  | OBS |  | 118 | 12 |  |  |  |  | 1971 |  |  |  | C | 0 | 0 |  | Flow | 1971 |  | Location approximated.
DAR-128 | 20K-e6 | 342413 | 800922 | 577564 | 3807036 | Lake Robinson | 225 | Carolina Power and Light | Robinson |  | IND | 375 | 365 | 12 | 5 |  | 282 | 360 | 1972 | 6 |  |  |  | 0 | 0 |  |  |  | Layne-Atlantic
DAR-201 | 17L-e1 | 341912 | 795433 | 600359 | 3798176 | Darlington West | 171 | William Hudson |  |  | IRR |  | 39 | 2 |  |  | 29 | 39 | 1989 | 4 | 15 | 1989 |  | 1 | 0 |  | 7 | 1989 | Welch
DAR-207 | 20K-e7 | 342410 | 800930 | 577360 | 3806942 | Lake Robinson | 230 | CP&L Plant |  | Lake Robinson | IND | 225 | 221 | 8 |  |  | 169 | 221 | 1973 | 6 | 260 | 1973 |  | 1 | 1 | C | 39 | 1973 | Demco
DAR-208 | 17L-h8 | 341827 | 795234 | 603418 | 3796628 | Darlington West | 120 | City of Darlington | Well 2 | N. Main Street | PS | 437 | 345 | 10 |  |  | 270 | 340 | 1983 | 10 | 600 | 1983 | E | 0 | 0 | C | 32 | 1983 | Virginia Well
DAR-209 | 17L-m3 | 341748 | 795223 | 603713 | 3795430 | Darlington East | 150 | City of Darlington | Well 3 | Edwards Avenue | PS | 480 | 435 | 10 |  |  | 264 | 430 | 1984 | 5 | 600 | 1984 | E, G, C | 1 | 0 | C | 100 | 1984 | Virginia Well | Samples at SCGS.
DAR-210 | 20J-u4 | 342524 | 800530 | 583467 | 3809274 | Hartsville North | 350 | Darlington Co. W&S | Well 4 | Ruby Road | PS | 520 | 435 | 12 |  |  | 281 | 425 | 1982 | 1 | 800 |  | E | 1 | 0 | C | 133 | 1982 | Virginia Well
DAR-211 | 16L-u1 | 341515 | 794530 | 614328 | 3790840 | Darlington East |  | Pee Dee Experiment Station |  |  |  | 163 | 141 | 6 |  |  | 131 | 141 | 1981 | 1 | 57 | 1981 |  | 1 | 1 |  | 30 | 1981 | Demco
DAR-212 | 21K-s1 | 342139 | 801141 | 574052 | 3802264 | Kellytown | 397 | Darlington Co. W&S | Test Well 1 |  | TEST | 517 |  | 4 | 2 |  | 414 | 426 | 1984 | 6 |  |  | E, G | 1 | 0 | C | 165 | 1984 | Demco
DAR-213 | 15L-f2 | 341840 | 794455 | 615146 | 3797166 | Witherspoon Island |  | Pee Dee Experiment Station |  |  | IRR | 60 | 30 |  |  |  | 25 | 30 | [5 empty] | 0 | 0
DAR-217 | 19K-q2 | 342120 | 800350 | 586089 | 3801782 | Hartsville South |  | Coker's Pedigreed Seed Co. |  |  | IRR |  | 215 | [7 empty] | 160 |  |  | 0 | 0
DAR-218 | 19K-q3 | 342133 | 800327 | 586673 | 3802188 | Hartsville South | 210 | CRC Farms |  |  | IRR |  | 140 | [10 empty] | 0 | 0 |  |  |  | Grosch | Samples at SCGS.
DAR-219 | 21K-s2 | 342139 | 801141 | 574052 | 3802264 | Kellytown | 397 | Darlington Co. W&S | Well 5 | Ashland | PS | 440 | 440 | 12 |  |  | 331 | 432 | 1985 | 12 | 800 | 1985 | E | 0 | 1 | C | 169 | 1985 | Virginia Well
DAR-220 | 21K-s3 | 342139 | 801141 | 574052 | 3802264 | Kellytown | 397 | Darlington Co. W&S | Test Well 2 | Ashland | TEST | 263 | 259 | 4 | 2 |  | 249 | 259 | 1984 | 7 | 63 | 1984 |  | 0 | 0 | C | 152 | 1984 | Demco
DAR-221 | 15L-o4 | 341717 | 794430 | 615817 | 3794617 | Witherspoon Island | 120 | Pee Dee R&E Center | Irrigation well 1 |  | IRR | 615 | 430 | 12 |  |  | 330 | 425 | 1988 | 5 | 600 | 1988 | E | 1 | 1 |  | 100 | 1988 | Grosch
DAR-222 | 15L-f1 | 341841 | 794449 | 615299 | 3797198 | Witherspoon Island | 120 | Pee Dee R&E Center | Irrigation well 2 |  | IRR | 600 | 415 | 12 |  |  | 295 | 410 | 1988 | 5 | 1000 | 1988 | E | 1 | 1 |  | 153 | 1992 | Grosch
DAR-226 | 21K-l1 | 342204 | 801121 | 574557 | 3803038 | Kellytown | 330 | Darlington Co. W&S | Well 6 |  | PS | 458 | 417 | 12 | 10 |  | 220 | 410 | 1989 | 12 | 900 |  | E, G | 0 | 1 | C | 99 | 1989 | Virginia Well
DAR-227 | 19K-f5 | 342306 | 800418 | 585344 | 3805040 | Hartsville North | 160 | Sonoco Products |  | Hartsville | TEST | 262 | [6 empty] | 1990 | 7 | 600 | 1990 | E, G | 0 | 0 |  |  |  | McNeill
DAR-228 | 17J-m1 | 342731 | 795248 | 602875 | 3813381 | Dovesville | 172 | USGS |  | Lake Darpo | OBS | 446 | 186 | [5 empty] | 1990 | 11 |  |  | E, G, C | 1 | 0 |  | 41 | 2002 | USGS | Core samples at SCGS.
DAR-229 | 17L-r1 | 341655 | 795237 | 603373 | 3793793 | Darlington West | 150 | City of Darlington | Well 4 | Hwy 52 Bypass | PS | 646 | 600 | 12 |  |  | 365 | 595 | 1987 | 1 | 500 | 1987 | E | 1 | 1 |  | 94 | 1987 | Layne-Atlantic
DAR-230 | 19M-y3 | 341023 | 800414 | 585661 | 3781540 | Lamar | 173 | Town of Lamar |  | Elevated tank | PS | 522 | 425 | 12 |  |  | 315 | 420 | 1993 | 10 | 250 | 1993 | E, G | 0 | 1 |  | 24 | 1993 | McNeill
DAR-231 | 19K-e1 | 342455 | 800455 | 584369 | 3808389 | Hartsville North | 270 | Darlington Co. W&S | Well 8 | Ruby Road | PS | 510 | 317 | 12 |  |  | 195 | 312 | 1995 | 5 | 750 | 1995 | E, G | 1 | 1 | C | 75 | 1995 | McNeill
DAR-232 | 18L-g1 | 341805 | 795824 | 594478 | 3795856 | Darlington West | 182 | Darlington Co. W&S |  | Earlys Crossroads | OBS | 456 | 355 | 6 |  |  | 205 | 355 | 1996 | 8 |  |  | E, G | 1 | 0 | C |  |  | Virginia Well
DAR-233 | 18L-g2 | 341804 | 795824 | 594479 | 3795825 | Darlington West | 182 | Darlington Co. W&S | Well 9 | Earlys Crossroads | PS | 450 | 450 | 24 | 12 |  | 217 | 352 | 1997 | 1 | 1160 | 2000 | E, G | 1 | 0 | C | 30 | 1997 | McNeill
DAR-234 | 19K-o11 | 342254 | 800438 | 584837 | 3804666 | Hartsville North | 175 | City of Hartsville | New No. 1 Well | North Fifth Street | PS | 424 | 220 | 24 | 12 |  | 138 | 204 | 1997 | 7 | 500 | 1998 | E, G | 1 | 1 | C | 3 | 1998 | McCall Brothers
DAR-235 | 18L-g3 | 341825 | 795847 | 593884 | 3796466 | Darlington West | 181 | Darlington Co. W&S | Well 10 | Earlys Crossroads | PS | 420 | 412 | 12 |  |  | 154 | 400 | 1997 | 11 | 1000 | 1998 | E, G | 1 | 1 |  | 31 | 1998 | Bill's Well Drilling
DAR-236 | 18L-f1 | 341823 | 795926 | 592888 | 3796394 | Darlington West | 188 | Darlington Co. W&S | Well 11 | Earlys Crossroads | PS | 420 | 388 | 12 |  |  | 228 | 376 | 1997 | 11 | 1000 | 1998 | E, G | 1 | 1 |  | 30 | 1998 | Bill's Well Drilling
DAR-237 | 15L-d1 | 341931 | 794327 | 617376 | 3798765 | Witherspoon Island |  | USGS |  | Witherspoon Island Boat Ramp | ABN | 59 | [6 empty] | 2000 |  |  |  | G | 1 | 0 |  |  |  | USGS | Core hole; no well was made.
DAR-238 | 17I-t8 | 343122 | 795025 | 606442 | 3820537 | Society Hill | 90 | Galey & Lord Industries |  | Society Hill Plant 2 | OBS | 303 | 286 | 4 |  |  | 165 | 265 | 2002 | 8 | 90 | 2002 | E, G | 1 | 1 |  | 5 | 2002 | McCall Brothers
DAR-239 | 17I-t9 | 343142 | 795022 | 606512 | 3821154 | Society Hill | 90 | Galey & Lord Industries | PW-1 | Society Hill Plant 2 | IND | 280 | 210 | 10 |  |  | 163 | 200 | 2002 | 9 | 250 | 2002 | E, G, T | 1 | 1 |  | 12 | 2002 | McCall Brothers
DAR-240 | 17I-t10 | 343158 | 795018 | 606608 | 3821648 | Society Hill | 70 | Galey & Lord Industries | PW-4 | Society Hill Plant 2 | IND | 296 | 264 | 10 |  |  | 187 | 254 | 2002 | 10 | 100 | 2002 | E, G, T | 1 | 1 |  | 3 | 2002 | McCall Brothers
DAR-241 | 21K-m1 | 342202 | 801206 | 573408 | 3802967 | Kellytown | 370 | Darlington County W&S | Well 12 | Clyde School Road | PS | 462 | 431 | 24 | 12 |  | 235 | 390 | 2003 | 8 | 900 | 2003 |  | 1 | 1 |  | 115 | 2003 | McNeill
DAR-242 | 20L-t1 | 341626 | 800545 | 583232 | 3792699 | Hartsville South |  | Wesley Chapel Meth. Church |  | Lydia, 1 1/4 miles SE | IRR | 60 | 60 | 2 |  |  | 45 | 60 | 1989 | 6 | 50 | 1989 |  | 1 | 0 |  | 5 | 1989 | Welch
DAR-243 | 17L-j1 | 341820 | 795050 | 606079 | 3796442 | Darlington East |  | W. H. Bristow |  | Darlington, 1 1/2 mile ENE | IRR | 120 | 120 | 4 |  |  | 80 | 120 | 1987 | 7 | 50 | 1987 |  | 1 | 0 |  | 40 | 1987 | Welch
DAR-244 | 18L-s1 | 341602 | 795640 | 597176 | 3792094 | Darlington West |  | Starwood Nursery |  | Darlington, 5 miles SW | IRR | 130 | 130 | 4 |  |  | 80 | 130 | 1987 | 7 | 80 | 1987 |  | 1 | 0 |  | 15 | 1987 | Welch
DAR-245 | 19K-o13 | 342235 | 800455 | 584408 | 3804077 | Hartsville North |  | Ed Saleeby |  | Hartsville | IRR | 220 | 220 | 4 |  |  | 180 | 220 | 1987 | 11 | 55 | 1987 |  | 1 | 0 |  | 46 | 1987 | Sutton
DAR-246 | 16K-n1 | 342210 | 794850 | 609064 | 3803562 | Darlington East |  | R. B. Bristow |  | Mechanicsville, 4 miles NW | IRR | 140 | 140 | 4 |  |  | 100 | 140 | 1989 | 2 | 50 | 1989 |  | 1 | 0 |  | 39 | 1989 | Welch
DAR-247 | 17L-h6 | 341840 | 795235 | 603388 | 3797028 | Darlington West |  | Winston Suggs |  | Darlington | IRR | 70 | 70 | 2 |  |  | 60 | 70 | 1994 | 6 | 20 | 1994 |  | 1 | 0 |  | 18 | 1994 | Welch
DAR-248 | 15L-l1 | 341745 | 794130 | 620408 | 3795537 | Witherspoon Island |  | W. M. Rowe |  | Wachovia Hills Community | DOM | 310 | 310 | 4 |  |  | 280 | 310 | 1994 | 10 | 60 | 1994 |  | 1 | 0 |  | 80 | 1994 | Welch
DAR-249 | 18M-g1 | 341325 | 795802 | 595128 | 3787237 | Timmonsville |  | Mitchell Lynn |  | Jackson Crossroads, 1 mile S | IRR | 150 | 150 | 4 |  |  | 130 | 150 | 1994 | 10 | 60 | 1994 |  | 1 | 0 |  | 18 | 1994 | Welch
DAR-250 | 16L-u2 | 341506 | 794505 | 614971 | 3790571 | Darlington East |  | Ronnie Sellars |  | Howards Crossroads, 1 1/4 mile WNW | IRR | 90 | 90 | 4 |  |  | 79 | 90 | 1994 | 10 | 50 | 1994 |  | 1 | 0 |  | 21 | 1994 | Welch
DAR-251 | 17K-o1 | 342225 | 795420 | 600629 | 3803930 | Darlington West |  | Marshall Flowers |  | Floyd | IRR | 130 | 130 | 4 |  |  | 100 | 130 | 1994 | 7 | 70 | 1994 |  | 1 | 0 |  | 15 | 1994 | Welch
DAR-252 | 19J-t1 | 342602 | 800003 | 591803 | 3810523 | Hartsville North |  | George Smith |  | Birdtown Crossroads, 1 1/2 mile S | IRR | 80 | 80 | 6 |  |  | 60 | 80 | 1994 | 7 | 125 | 1994 |  | 1 | 0 |  | 10 | 1994 | Sutton
DAR-253 | 19K-w1 | 342030 | 800210 | 588659 | 3800266 | Hartsville South |  | James Harrison |  | Hartsville, 3 miles SE | IRR | 130 | 130 | 4 |  |  | 110 | 130 | 1994 | 8 | 50 | 1994 |  | 1 | 0 |  | 20 | 1994 | Welch
DAR-254 | 17M-b1 | 341425 | 795145 | 604754 | 3789188 | Florence West |  | Joseph Knight |  | Darlington, 4 1/2 miles S | IRR | 170 | 170 | 4 |  |  | 140 | 170 | 1994 | 6 | 80 | 1994 |  | 1 | 0 |  | 20 | 1994 | Welch
DAR-255 | 16K-n2 | 342220 | 794855 | 608932 | 3803869 | Darlington East |  | Vacie Cribb |  | Monte Claire, 1 1/2 mile S | DOM | 100 | 100 | 4 |  |  | 60 | 100 | 1989 | 8 | 50 | 1989 |  | 1 | 0 |  | 45 | 1989 | Welch
DAR-256 | 18M-n1 | 341230 | 795830 | 594429 | 3785536 | Timmonsville |  | Pine Grove Yacht Club |  | Jackson Crossroads, 2 1/2 miles S | IRR | 130 | 130 | 4 |  |  | 100 | 130 | 1992 | 7 | 80 | 1992 |  | 1 | 0 |  | 18 | 1992 | Welch
DAR-257 | 20L-u1 | 341550 | 800545 | 583242 | 3791591 | Hartsville South |  | Wayne Howell |  | Oats, 1 mile NW | IRR | 55 | 55 | 2 |  |  | 50 | 55 | 1995 | 11 | 65 | 1995 |  | 1 | 0 |  | 4 | 1995 | Welch
DAR-258 | 19M-d1 | 341415 | 800350 | 586210 | 3788691 | Lamar |  | J. E. Mozingo |  | Oats, 1 1/2 mile SE | IRR | 60 | 60 | 2 |  |  | 40 | 60 | 1995 | 12 | 70 | 1995 |  | 1 | 0 |  | 8 | 1995 | Welch
DAR-259 | 20M-k1 | 341202 | 800502 | 584405 | 3784578 | Lamar |  | J. E. Watford |  | Lamar, 2 1/2 miles NW | DOM | 160 | 160 | 4 |  |  | 130 | 160 | 1995 | 10 | 60 | 1995 |  | 1 | 0 |  | 12 | 1995 | Welch
DAR-260 | 20M-k2 | 341202 | 800502 | 584405 | 3784578 | Lamar |  | J. E. Watford |  | Lamar, 2 1/2 miles NW | DOM | 170 | 170 | 4 |  |  | 140 | 170 | 1995 | 10 | 65 | 1995 |  | 1 | 0 |  | 12 | 1995 | Welch
DAR-261 | 16K-y1 | 342059 | 794915 | 608450 | 3801368 | Darlington East |  | Kevin Sturgeon |  | Darlington, 4 1/2 miles NE | DOM | 310 | 310 | 4 | 2 |  | 260 | 310 | 1997 | 12 | 75 | 1997 |  | 1 | 0 |  | 95 | 1997 | Welch
DAR-262 | 19M-m1 | 341215 | 800230 | 588291 | 3785014 | Lamar |  | Jimmy Freeman |  | Wilkes | DOM | 150 | 150 | 4 |  |  | 130 | 150 | 1998 | 5 | 50 | 1998 |  | 1 | 0 |  | 15 | 1998 | Welch
DAR-263 | 19M-m2 | 341215 | 800230 | 588291 | 3785014 | Lamar |  | Jimmy Freeman |  | Wilkes | DOM | 130 | 130 | 4 |  |  | 110 | 130 | 1998 | 5 | 55 | 1998 |  | 1 | 0 |  | 14 | 1998 | Welch
DAR-264 | 17L-u3 | 341530 | 795030 | 606650 | 3791212 | Darlington East |  | Brook Lawson |  | Darlington, 4 miles SE | IRR | 120 | 120 | 4 |  |  | 100 | 120 | 1999 | 6 | 55 | 1999 |  | 1 | 0 |  | 18 | 1999 | Welch
DAR-265 | 18M-j1 | 341320 | 795555 | 598379 | 3787117 | Timmonsville |  | Traces Golf Club |  | Darlington, 7 miles SW | IRR | 135 | 133 | 4 |  |  | 73 | 133 | 1999 | 6 | 70 | 1999 |  | 1 | 0 |  | 20 | 1999 |  | Location approximated.
DAR-266 | 17K-o2 | 342230 | 795401 | 601113 | 3804089 | Dovesville |  | Nucor Steel |  | Floyd | IRR |  | 300 | 10 |  |  | 207 | 275 | 1999 | 5 | 410 | 1999 |  | 1 | 0 |  | 65 | 1999 | Professional Pump & Well | Q/s = 12. Partial driller's log.
DAR-267 | 20K-d1 | 342405 | 800810 | 579404 | 3806805 | Lake Robinson |  | Keith Weikel |  | Hartsville, 4 1/2 miles NW | DOM | 82 | 82 | 4 |  |  |  | 82 | 2000 | 8 | 110 | 2000 |  | 1 | 0 |  | 14 | 2000 | Sutton
DAR-268 | 20L-s1 | 341630 | 800640 | 581825 | 3792810 | Hartsville South |  | David Howell |  | Lydia, 1 mile S | IRR | 80 | 80 | 4 |  |  | 50 | 80 | 2000 | 3 | 75 | 2000 |  | 1 | 0 |  | 8 | 2000 | Welch
DAR-269 | 16L-l1 | 341758 | 794615 | 613117 | 3795847 | Darlington East |  | J. B. Lyles |  | Howards Crossroads, 1/2 mile NE | IRR | 110 | 110 | 4 |  |  | 90 | 110 | 2000 | 6 | 50 | 2000 |  | 1 | 0 |  | 20 | 2000 | Welch
DAR-270 | 16K-o1 | 342259 | 794901 | 608765 | 3805068 | Mont Clare |  | Frank Woodard |  | Monte Claire, 1 1/4 mile S | IRR | 130 | 130 | 4 |  |  | 80 | 130 | 2000 | 4 | 130 | 2000 |  | 1 | 0 |  | 8 | 2000 | Welch
DAR-271 | 17J-p1 | 342655 | 795450 | 599774 | 3812238 | Dovesville |  | Clarence Ewing |  | Dovesville, 3 1/2 miles NNW | DOM | 50 | 50 | 4 |  |  | 20 | 50 | 2001 | 11 | 70 | 2001 |  | 1 | 0 |  | 7 | 2001 | Gainey
DAR-272 | 19M-t1 | 341130 | 800030 | 591376 | 3783657 | Lamar |  | Bess Roger |  | Lamar, 4 miles NE | IRR | 140 | 140 | 4 |  |  | 80 | 140 | 2001 | 12 | 100 | 2001 |  | 1 | 0 |  | 10 | 2001 | Welch | Location estimated.
DAR-273 | 19M-v1 | 341010 | 800155 | 589224 | 3781172 | Lamar |  | Dennis Porter |  | Lamar, 2 miles E | IRR |  | 255 | 6 |  |  | 135 | 255 | 2002 | 3 | 300 | 2002 |  | 0 | 0 |  | 9 | 2002 | Powell
DAR-274 | 16K-o2 | 342222 | 794931 | 608012 | 3803920 | Darlington East |  | I.M.C. Paul Farms |  | Monte Claire, 2 miles SSW | IRR | 120 | 120 | 4 |  |  | 80 | 120 | 2002 | 10 | 100 | 2002 |  | 1 | 0 |  |  |  | Welch
DAR-275 | 19L-c1 | 341930 | 800215 | 588548 | 3798416 | Hartsville South |  | Steve Smith |  | Hartsville, 4 miles SE | IRR | 110 | 110 | 4 |  |  | 85 | 110 | 2003 | 2 | 60 | 2003 |  | 1 | 0 |  | 10 | 2003 | Sutton
DAR-276 | 18K-j1 | 342304 | 795509 | 599365 | 3805117 | Dovesville |  | R. W. Demalrice |  | Dovesville, 2 miles SW | IRR | 80 | 80 | 4 |  |  | 60 | 80 | 2003 | 4 | 50 | 2003 |  | 1 | 0 |  | 23 | 2003 | Welch
DAR-277 | 18K-q1 | 342114 | 795839 | 594036 | 3801674 | Darlington West |  | Charles Stewart |  | Auburn, 1 1/2 miles S | IRR | 150 | 150 | 4 |  |  | 120 | 150 | 2002 | 12 | 70 | 2002 |  | 1 | 0 |  | 6 | 2002 | Welch
DAR-278 | 18K-q2 | 342114 | 795839 | 594036 | 3801674 | Darlington West |  | Charles Stewart |  | Auburn, 1 1/2 miles S | IRR | 150 | 150 | 4 |  |  | 110 | 150 | 2003 | 1 | 70 | 2003 |  | 1 | 0 |  | 6 | 2003 | Welch
DAR-279 | 20L-w1 | 341525 | 800725 | 580691 | 3790798 | Hartsville South |  | Frank Mitchell |  | Lydia, 2 1/2 miles SSW | IRR | 60 | 60 | 4 |  |  | 40 | 60 | 2003 | 6 | 60 | 2003 |  | 1 | 0 |  | 10 | 2003 | Woodham
DAR-280 | 17L-j2 | 341845 | 795040 | 606326 | 3797215 | Darlington East |  | Wilson Hospital |  | Darlington, 2 miles NE | IRR | 340 | 340 | 4 | 2 |  | 280 | 340 | 2004 | 3 | 95 | 2004 |  | 1 | 0 |  | 75 | 2004 | Welch
DAR-281 | 16K-d1 | 342417 | 794826 | 609631 | 3807481 | Mont Clare |  | Charles Commander |  | Monte Claire, 1 mile ENE | IRR | 150 | 150 | 4 |  |  | 120 | 150 | 2004 | 7 | 65 | 2004 |  | 1 | 0 |  | 75 | 2004 | Welch
DAR-282 | 17L-h7 | 341825 | 795215 | 603904 | 3796572 | Darlington East |  | B. L. Burr |  | Darlington | IRR | 135 | 135 | 4 |  |  | 105 | 135 | 2004 | 10 | 75 | 2004 |  | 1 | 0 |  | 25 | 2004 | Welch
DAR-283 | 19K-l1 | 342220 | 800130 | 589648 | 3803664 | Hartsville South |  | Rogers Brothers Farms | Well 4 | Hartsville, 3 miles E | IRR | 155 | 155 | 6 |  |  | 95 | 155 | 2004 | 4 | 400 | 2004 |  | 1 | 0 |  | 13 | 2004 | AAA Well Drilling | Well 5 is 100' away; also yields 400 gpm.
DAR-284 | 17M-m1 | 341241 | 795243 | 603305 | 3785968 | Timmonsville |  | Triple R Farms |  | Darlington, 7 miles S | IRR | 380 | 380 | 4 | 2 |  | 300 | 380 | 2002 | 3 | 100 | 2002 |  | 1 | 0 |  | 55 | 2002 | Welch
DAR-285 | 20K-m2 | 342205 | 800745 | 580074 | 3803114 | Kellytown |  | Kalmia Botanical Gardens |  | Hartsville, 3 1/2 miles W | IRR |  | 120 | 4 |  |  | 90 | 120 | 2003 | 6 | 60 | 2003 |  | 0 | 0 |  | 56 | 2003 | Adams
DAR-286 | 19L-q1 | 341605 | 800305 | 587330 | 3792090 | Hartsville South |  | James Tedder |  | Lydia, 3 1/2 miles ESE | IRR | 66 | 66 | 4 |  |  | 36 | 66 | 2003 | 12 | 120 | 2003 |  | 1 | 0 |  | 4 | 2003 | Woodham
DAR-287 | 19L-y2 | 341547 | 800450 | 584649 | 3791511 | Hartsville South |  | Zan West |  | Oats, 3/4 mile NNE | IRR | 95 | 95 | 4 |  |  | 55 | 95 | 2004 | 7 | 50 | 2004 |  | 1 | 0 |  | 12 | 2004 | Miller
DAR-288 | 18K-e1 | 342440 | 795913 | 593104 | 3808010 | Dovesville |  | Ed Fort | Well 2 | Hartsville, 6 miles NE | IRR |  | 125 | 4 |  |  | 95 | 125 | 2005 | 7 | 65 | 2005 |  | 0 | 0 |  | 33 | 2005 | Adams
DAR-289 | 18K-e2 | 342440 | 795913 | 593104 | 3808010 | Dovesville |  | Ed Fort | Well 3 | Hartsville, 6 miles NE | IRR |  | 120 | 4 |  |  | 90 | 120 | 2005 | 7 | 60 | 2005 |  | 0 | 0 |  | 42 | 2005 | Adams
DAR-290 | 17L-s1 | 341645 | 795102 | 605805 | 3793513 | Darlington East |  | Loyd Miller |  | Darlington, 2 miles SSE | IRR | 140 | 140 | 4 |  |  | 120 | 140 | 1994 | 11 | 80 | 1994 |  | 1 | 0 |  | 20 | 1994 | Welch
DAR-291 | 17M-i1 | 341345 | 795102 | 605868 | 3787968 | Florence West |  | Mark Fox |  | Hoffmeyer Crossroads, 1 1/2 miles NNW | IRR | 150 | 150 | 4 |  |  | 120 | 150 | 1996 | 12 | 75 | 1996 |  | 1 | 0 |  | 14 | 1996 | Welch
DAR-292 | 17M-m2 | 341258 | 795250 | 603121 | 3786490 | Timmonsville |  | Triple R Farms |  | Hoffmeyer Crossroads, 2 1/2 miles WNW | IRR | 200 | 200 | 4 |  |  | 140 | 200 | 2001 | 1 | 110 | 2001 |  | 1 | 0 |  | 18 | 2001 | Welch
DAR-293 | 18N-e1 | 340950 | 795903 | 593633 | 3780599 | Timmonsville |  | Dan Fox |  | Timmonsville, 3 1/4 miles NW | IRR | 170 | 170 | 4 |  |  | 120 | 170 | 2004 | 8 | 110 | 2004 |  | 1 | 0 |  |  |  | Welch
DAR-294 | 17M-o1 | 341210 | 795415 | 600961 | 3784988 | Timmonsville |  | Tracs Golf Course |  | Oakdale, 2 miles NNW | IRR | 170 | 170 | 4 |  |  | 120 | 170 | 2000 | 5 | 110 | 2000 |  | 1 | 0 |  | 25 | 2000 | Welch
DAR-295 | 17J-q1 | 342601 | 795335 | 601706 | 3810595 | Dovesville |  | Doyle O'Neal | Well 1 | Dovesville, 2 1/2 miles N | IRR | 92 | 92 | 4 |  |  | 68 | 92 | 2005 | 9 | 60 | 2005 |  | 1 | 0 |  | 17 | 2005 | Sutton
DAR-296 | 17J-q2 | 342601 | 795335 | 601706 | 3810595 | Dovesville |  | Doyle O'Neal | Well 2 | Dovesville, 2 1/2 miles N | IRR | 78 | 78 | 4 |  |  | 40 | 78 | 2005 | 9 | 60 | 2005 |  | 1 | 0 |  | 17 | 2005 | Sutton
DAR-297 | 16K-g1 | 342335 | 794801 | 610284 | 3806195 | Mont Clare |  | Ronnie Goodson |  | Monte Clare, 1 1/4 miles ESE | IRR | 105 | 105 | 4 |  |  | 55 | 105 | 2005 | 11 | 70 | 2005 |  | 1 | 0 |  | 15 | 2005 | Miller
DAR-298 | 19M-t2 | 341120 | 800040 | 591123 | 3783347 | Lamar |  | David Andrews, Jr. |  | Lamar, 3 1/2 miles NE | DOM | 120 | 120 | 4 |  |  | 90 | 120 | 1993 | 9 | 80 | 1993 |  | 1 | 0 |  | 4 | 1993 | Welch
DAR-299 | 19K-q4 | 342135 | 800355 | 585957 | 3802243 | Hartsville South |  | Robert Griggs Farm |  | Hartsville, 1 1/4 mile SE | IRR | 185 | 182 | 6 |  |  | 102 | 182 | 2006 | 3 | 400 | 2006 |  | 1 | 0 |  | 11 | 2006 | AAA Well Drilling
DAR-300 | 18K-u1 | 342035 | 795522 | 599082 | 3800524 | Darlington West |  | Lawson Turf Farm |  | Darlington, 4 miles NW | IRR | 420 | 420 | 18 | 10 |  | 260 | 420 | 2006 | 5 | 800 | 2006 |  | 1 | 0 |  | 52 | 2006 | AAA Well Drilling
DAR-301 | 18K-u2 | 342016 | 795536 | 598730 | 3799935 | Darlington West |  | Lawson Turf Farm |  | Darlington, 4 miles NW | IRR | 185 | 180 | 6 |  |  | 80 | 180 | 2006 | 4 | 300 | 2006 |  | 1 | 0 |  | 17 | 2006 | AAA Well Drilling
DAR-302 | 19K-k1 | 342230 | 800045 | 590795 | 3803983 | Hartsville North |  | Rogers Brothers Farms |  | Hartsville, 4 miles E | IRR | 188 | 186 | 6 |  |  | 106 | 186 | 2006 | 6 | 400 | 2006 |  | 1 | 0 |  | 24 | 2006 | AAA Well Drilling
DAR-303 | 18L-j1 | 341806 | 795555 | 598287 | 3795926 | Darlington West |  | Darlington Technical Center |  | Darlington, 3 1/2 miles W | IRR | 150 | 150 | 4 |  |  | 90 | 150 | 2006 | 6 | 100 | 2006 |  | 1 | 0 |  | 18 | 2006 | Welch | A second identical well nearby.
DAR-304 | 16K-n3 | 342234 | 794801 | 610307 | 3804316 | Mont Clare |  | Ronnie Goodson |  | Mechanicsville, 2 miles NW | IRR | 353 | 353 | 6 |  |  | 240 | 353 | 2007 | 1 | 300 | 2007 |  | 1 | 0 |  | 113 | 2007 | AAA Well Drilling
DAR-305 | 16L-j1 | 341850 | 794536 | 614094 | 3797461 | Darlington East |  | Edwin Dargan |  | Mechanicsville, 2 1/2 miles S | IRR | 140 | 140 | 4 |  |  | 110 | 140 | 2007 | 3 | 70 | 2007 |  | 1 | 0 |  | 30 | 2007 | Welch
DAR-306 | 18M-p1 | 341120 | 795902 | 593631 | 3783371 | Timmonsville |  | Will Osborne |  | Lamar, 6 miles ENE | IRR | 140 | 140 | 4 |  |  | 100 | 140 | 2007 | 3 | 90 | 2007 |  | 1 | 0 |  | 18 | 2007 | Welch
DAR-307 | 17M-g1 | 341346 | 795334 | 601978 | 3787956 | Timmonsville |  | Les Galloway |  | Wilson Crossroads, 1/2 mile NNW | IRR | 150 | 150 | 4 |  |  | 110 | 150 | 2007 | 4 | 65 | 2007 |  | 1 | 0 |  | 40 | 2007 | Welch
DAR-308 | 19K-w2 | 342049 | 800210 | 588653 | 3800851 | Hartsville South |  | Segars Farms |  | Hartsville, 2 miles SE | IRR | 285 | 285 | 8 |  |  | 205 | 285 | 2007 | 5 | 600 | 2007 |  | 1 | 0 |  | 34 | 2007 | AAA Well Drilling
DAR-309 | 18K-p1 | 342140 | 795942 | 592419 | 3802458 | Darlington West |  | Rogers Brothers |  | Hartsville, 4 miles ESE | IRR | 340 | 340 | 10 |  |  | 240 | 340 | 2007 | 5 | 1000 | 2007 |  | 1 | 0 |  | 37 | 2007 | AAA Well Drilling
DAR-310 | 19N-s1 | 340643 | 800136 | 589771 | 3774801 | Lynchburg |  | Watson Tolson |  | Lamar, 5 miles SE | IRR | 439 | 439 | 6 |  |  | 284 | 439 | 2007 | 9 | 350 | 2007 |  | 1 | 0 |  | 20 | 2007 | AAA Well Drilling
DAR-311 | 18K-e3 | 342435 | 795938 | 592468 | 3807850 | Dovesville |  | Edward Fort |  | Auburn, 2 1/2 miles NNW | IRR | 270 | 270 | 8 |  |  | 126 | 270 | 2007 | 11 | 600 | 2007 |  | 1 | 0 |  | 13 | 2007 | AAA Well Drilling
DAR-312 | 18K-n1 | 342230 | 795830 | 594243 | 3804017 | Dovesville |  | Rogers Brothers Farm |  | Auburn | IRR | 275 | 275 | 8 |  |  | 155 | 275 | 2008 | 5 | 600 | 2008 |  | 1 | 0 |  | 41 | 2008 | AAA Well Drilling
DAR-313 | 18K-t1 | 342101 | 795515 | 599252 | 3801327 | Darlington West |  | Taylor Farm |  | Floyd, 2 miles SW | IRR | 340 | 340 | 8 |  |  | 240 | 340 | 2008 | 6 | 600 | 2008 |  | 1 | 0 |  | 54 | 2008 | AAA Well Drilling
DAR-314 | 20L-r1 | 341630 | 800710 | 581057 | 3792804 | Hartsville South |  | Foxcreek Golf Club |  | Lydia, 1 mile SSW | IRR | 55 | 55 | 4 |  |  | 20 | 55 | 2008 | 6 | 100 | 2008 |  | 1 | 0 |  | 20 | 2008 | Woodham | Water-table well.
DAR-315 | 18M-c1 | 341414 | 795720 | 596187 | 3788757 | Timmonsville |  | Les Galloway |  | Syracuse | IRR | 654 | 435 | 8 |  |  | 260 | 435 | 2008 | 12 | 500 | 2008 |  | 1 | 0 |  | 49 | 2008 | AAA Well Drilling | Bedrock at 654 feet.
DAR-316 | 20J-u5 | 342541 | 800505 | 584101 | 3809804 | Hartsville North | 311 | Perry Atkinson |  |  | DOM | 50 | 50 | 2 |  |  | 40 | 50 | 2000 | 8 | 8 | 2000 |  | 1 | 0 |  | 28 | 2000 | Sutton
DAR-317 | 17I-v6 | 343013 | 795119 | 605090 | 3818396 | Society Hill | 140 | Bryant Williams |  |  | DOM | 52 | 52 | 4 |  |  | 43 | 52 | 2000 | 10 | 10 | 2000 |  | 1 | 0 |  | 29 | 2000 | Sutton
DAR-318 | 19J-y1 | 342547 | 800426 | 585095 | 3809997 | Hartsville North | 295 | Michael Griggs |  | Hartsville, 3 miles N | DOM | 82 | 82 | 4 |  |  | 72 | 82 | 2005 | 8 | 18 | 2005 |  | 1 | 0 |  | 60 | 2005 | Woodham
DAR-319 | 21K-h1 | 342334 | 801225 | 572901 | 3805797 | Lake Robinson | 328 | LaShanda Jackson |  |  | DOM | 60 | 60 | 2 |  |  | 47 | 60 | 2003 | 11 | 5 | 2003 |  | 1 | 0 |  | 45 | 2003 | Sutton
DAR-320 | 19K-o14 | 342252 | 800412 | 585501 | 3804610 | Hartsville North | 200 | Devon Ewing |  | Hartsville | IRR | 116 | 116 | 4 |  |  | 96 | 116 | 2004 | 2 | 35 | 2004 |  | 1 | 0 |  | 27 | 2004 | Sutton
DAR-321 | 17J-u1 | 342529 | 795049 | 605954 | 3809657 | Mont Clare | 172 | Frank Woodard |  | Society Hill, 6 miles S | IRR | 610 | [10 empty] | E, G | 0 | 0 |  |  |  | AAA Well Drilling

## DAR by Grid Number
SCGRID | CONUM
15L-d1 | DAR-237
15L-f1 | DAR-222
15L-f2 | DAR-213
15L-l1 | DAR-248
15L-o1 | DAR-108
15L-o2 | DAR-119
15L-o3 | DAR-118
15L-o4 | DAR-221
16K-d1 | DAR-281
16K-g1 | DAR-297
16K-n1 | DAR-246
16K-n2 | DAR-255
16K-n3 | DAR-304
16K-o1 | DAR-270
16K-o2 | DAR-274
16K-t1 | DAR-123
16K-y1 | DAR-261
16L-b1 | DAR-93
16L-j1 | DAR-305
16L-l1 | DAR-269
16L-q1 | DAR-89
16L-q2 | DAR-88
16L-q3 | DAR-90
16L-q4 | DAR-91
16L-q5 | DAR-92
16L-q6 | DAR-111
16L-u1 | DAR-211
16L-u2 | DAR-250
16L-x1 | DAR-112
17I-t1 | DAR-2
17I-t4 | DAR-5
17I-t5 | DAR-6
17I-t6 | DAR-72
17I-t7 | DAR-126
17I-t8 | DAR-238
17I-t9 | DAR-239
17I-t10 | DAR-240
17I-u1 | DAR-109
17I-v1 | DAR-1
17I-v2 | DAR-81
17I-v3 | DAR-96
17I-v4 | DAR-57
17I-v5 | DAR-35
17I-v6 | DAR-317
17J-i1 | DAR-85
17J-i2 | DAR-84
17J-m1 | DAR-228
17J-p1 | DAR-271
17J-q1 | DAR-295
17J-q2 | DAR-296
17J-u1 | DAR-321
17K-f1 | DAR-74
17K-o1 | DAR-251
17K-o2 | DAR-266
17K-p1 | DAR-125
17K-y1 | DAR-75
17L-e1 | DAR-201
17L-h1 | DAR-7
17L-h2 | DAR-8
17L-h3 | DAR-58
17L-h4 | DAR-9
17L-h5 | DAR-32
17L-h6 | DAR-247
17L-h7 | DAR-282
17L-h8 | DAR-208
17L-i1 | DAR-10
17L-i2 | DAR-11
17L-i3 | DAR-69
17L-j1 | DAR-243
17L-j2 | DAR-280
17L-l1 | DAR-70
17L-l2 | DAR-63
17L-m1 | DAR-86
17L-m2 | DAR-113
17L-m3 | DAR-209
17L-m4 | DAR-12
17L-m5 | DAR-34
17L-r1 | DAR-229
17L-s1 | DAR-290
17L-u1 | DAR-95
17L-u2 | DAR-110
17L-u3 | DAR-264
17M-b1 | DAR-254
17M-g1 | DAR-307
17M-i1 | DAR-291
17M-m1 | DAR-284
17M-m2 | DAR-292
17M-o1 | DAR-294
18J-w1 | DAR-48
18K-b1 | DAR-49
18K-e1 | DAR-288
18K-e2 | DAR-289
18K-e3 | DAR-311
18K-h1 | DAR-50
18K-j1 | DAR-276
18K-n1 | DAR-312
18K-p1 | DAR-309
18K-q1 | DAR-277
18K-q2 | DAR-278
18K-t1 | DAR-313
18K-u1 | DAR-300
18K-u2 | DAR-301
18L-f1 | DAR-236
18L-g1 | DAR-232
18L-g2 | DAR-233
18L-g3 | DAR-235
18L-j1 | DAR-303
18L-s1 | DAR-244
18L-u1 | DAR-73
18M-c1 | DAR-315
18M-g1 | DAR-249
18M-j1 | DAR-265
18M-n1 | DAR-256
18M-p1 | DAR-306
18N-e1 | DAR-293
19J-t1 | DAR-252
19J-y1 | DAR-318
19K-e1 | DAR-231
19K-f1 | DAR-80
19K-f2 | DAR-106
19K-f3 | DAR-115
19K-f4 | DAR-116
19K-f5 | DAR-227
19K-f6 | DAR-15
19K-f7 | DAR-16
19K-f8 | DAR-13
19K-g1 | DAR-77
19K-g2 | DAR-97
19K-g3 | DAR-105
19K-h1 | DAR-46
19K-k1 | DAR-302
19K-l1 | DAR-283
19K-n1 | DAR-79
19K-n2 | DAR-124
19K-o1 | DAR-36
19K-o2 | DAR-94
19K-o3 | DAR-22
19K-o4 | DAR-23
19K-o5 | DAR-24
19K-o6 | DAR-25
19K-o7 | DAR-29
19K-o8 | DAR-26
19K-o9 | DAR-27
19K-o10 | DAR-28
19K-o11 | DAR-234
19K-o12 | DAR-127
19K-o13 | DAR-245
19K-o14 | DAR-320
19K-q2 | DAR-217
19K-q3 | DAR-218
19K-q4 | DAR-299
19K-w1 | DAR-253
19K-w2 | DAR-308
19L-c1 | DAR-275
19L-q1 | DAR-286
19L-w1 | DAR-54
19L-y1 | DAR-55
19L-y2 | DAR-287
19M-d1 | DAR-258
19M-m1 | DAR-262
19M-m2 | DAR-263
19M-t1 | DAR-272
19M-t2 | DAR-298
19M-v1 | DAR-273
19M-x1 | DAR-64
19M-x2 | DAR-65
19M-y1 | DAR-87
19M-y2 | DAR-98
19M-y3 | DAR-230
19M-y4 | DAR-30
19N-s1 | DAR-310
20J-u1 | DAR-103
20J-u4 | DAR-210
20J-u5 | DAR-316
20J-v1 | DAR-120
20J-v2 | DAR-122
20K-b1 | DAR-102
20K-d1 | DAR-267
20K-e1 | DAR-61
20K-e2 | DAR-62
20K-e3 | DAR-99
20K-e4 | DAR-100
20K-e5 | DAR-101
20K-e6 | DAR-128
20K-e7 | DAR-207
20K-f1 | DAR-39
20K-g1 | DAR-38
20K-m1 | DAR-114
20K-m2 | DAR-285
20K-n1 | DAR-41
20K-n2 | DAR-42
20K-n3 | DAR-37
20K-s3 | DAR-82
20K-t1 | DAR-71
20L-a1 | DAR-78
20L-a2 | DAR-76
20L-a3 | DAR-51
20L-a4 | DAR-52
20L-j1 | DAR-53
20L-j2 | DAR-56
20L-r1 | DAR-314
20L-s1 | DAR-268
20L-t1 | DAR-242
20L-u1 | DAR-257
20L-w1 | DAR-279
20M-k1 | DAR-259
20M-k2 | DAR-260
21J-v1 | DAR-45
21K-h1 | DAR-319
21K-i1 | DAR-59
21K-l1 | DAR-226
21K-m1 | DAR-241
21K-s1 | DAR-212
21K-s2 | DAR-219
21K-s3 | DAR-220